A Histological Examination of Fractional Picosecond 755nm, 532nm and 1064 nm Laser Treatment on Skin, From High to Low Settings

Emil A. Tanghetti

Center for Dermatology & Laser Surgery, Sacramento,

CA, USA____________________________________________________________________________________________________

Background

- Study investigators previously reported that high-energy fractional (diffractive lens array; DLA) picosecond treatments with the Alexandrite laser, as well as the 532nm/1064nm wavelengths, results in Laser-Induced Optical Break Down (LIOB) that is preceded by transient vacuoles produced in the skin (histological findings).

- However, when these devices are used with lower fluence settings, skin does not always reach the LIOB threshold in the epidermis or the dermis.

- This investigation examines the spectrum of changes from high to low fluences in Fitzpatrick Skin Type (FST) I-VI.

Method

- This study evaluated the histologies of in-vivo biopsy skin specimens taken from IRB-approved, consented patients (gathered from studies spanning a seven-year time-period) as well as ex-vivo specimens from consented patients who underwent elective abdominoplasty.

- Investigators reviewed all the histologies from the studies that used a picosecond 532nm/1064nm Nd:YAG laser with a holographic optic, as well as histologies from picosecond 200mJ/cm2 and 300mJ/cm2 755nm Alexandrite laser with a DLA. Over 1500 images were captured during this review.

Results

- Results revealed a wide spectrum of histological changes produced by these lasers, to include LIOB production (from melanin absorption above threshold) to the heating of the chromophore (at sub-threshold doses) that resulted in thermally damaged cells, to steam bubbles produced in the epidermis.

- Since the energies produced by these lasers are insufficient to reach LIOB threshold for hemoglobin as well, the light reaches the blood vessel and heats red blood cells (producing steam or steam bubbles that damage vessel walls) which results in minor hemorrhage (lasting a few days).

- In ex-vivo skin heating, this static target produces a steam bubble which appears as a dermal vacuole (not an LIOB).

- As a result of melanin’s higher absorption of the 755nm wavelength (as opposed to hemoglobin), hemorrhage in the dermis was not observed as frequently as it was with 532nm and 1064nm.

- There is no evidence of a shock wave, but there could very well be a pressure wave that could produce a biological effect.

Conclusion

- This investigation strongly suggests that the spectrum of effects (thermal effects from the creation of an LIOB steam bubble, to the heating seen at sub-threshold doses) does create relatively thermally confined damage that is well-suited for all skin types.